## B. anthracis comprehensive
Test Number | Decon Solution (mL) | Equipment | Contact Time (hour) | Temp (°C) | Material | Inoculum (CFU/coupon) | Mean Recovered B. anthracis (CFU/coupon) |  | Decontamination Efficacy ± CId
[7 empty] | Positive Controlb | Test Couponc
1 | PAA (160) | Sani-Tizer | 18 | 20 | Rubber Flooring | 135000000 | 8.95 ± 2.14 x 107 | 0.00 ± 0.00 | ≥7.94 ± 0.10
[5 empty] | Upholstery |  | 1.20 ± 0.04 x 108 | 0.00 ± 0.00 | ≥8.08 ± 0.01
[5 empty] | Aluminum |  | 7.65 ± 0.85 x 107 | 0.00 ± 0.00 | ≥7.88 ± 0.04
[5 empty] | Mylar |  | 1.17 ± 0.31 x 108 | 0.00 ± 0.00 | ≥8.06 ± 0.10
[5 empty] | Fiberglass Siding |  | 3.90 ± 1.08 x 107 | 0.00 ± 0.00 | ≥7.58 ± 0.10
[5 empty] | Carpet |  | 4.60 ± 2.19 x 107 | 1.06 ± 1.71 x 106 | 2.37 ± 1.30
2 | 8% H2O2 (2635) | Sani-Tizer | 168 | 20 | Rubber Flooring | 126000000 | 9.71 ± 1.40 x 107 | 0.00 ± 0.00 | ≥7.98 ± 0.05
[5 empty] | Upholstery |  | 9.87 ± 1.70 x 107 | 0.00 ± 0.00 | ≥7.99 ± 0.06
[5 empty] | Aluminum |  | 1.02 ± 0.12 x 108 | 0.00 ± 0.00 | ≥8.01 ± 0.04
[5 empty] | Mylar |  | 8.61 ± 1.05 x 107 | 0.00 ± 0.00 | ≥7.93 ± 0.05
[5 empty] | Fiberglass Siding |  | 4.05 ± 2.08 x 107 | 9.95 ± 22.2 x 102 | 6.77 ± 1.49
[5 empty] | Carpet |  | 5.63 ± 2.60 x 107 | 1.95 ± 2.60 x 105 | 4.51 ± 2.59
3 | PAA (160) | Sani-Tizer | 168† 24hr, 48hr, 120hr, 144hr, 168hr) | 20 | Carpet | 117000000 | 2.49 ± 1.00 x 107 | 9.90 ± 12.1 x 105 | 1.71 ± 0.67
[7 empty] | 2.49 ± 1.00 x 107 | 1.53 ± 1.64 x 105 | 2.69 ± 0.94
[7 empty] | 2.49 ± 1.00 x 107 | 4.27 ± 2.77 x 105 | 1.84 ± 0.36
[7 empty] | 2.49 ± 1.00 x 107 | 1.74 ± 3.08 x 106 | 1.66 ± 0.68
[7 empty] | 2.49 ± 1.00 x 107 | 5.13 ± 6.71 x 105 | 2.84 ± 1.47
4 | PAA (78) | Sani-Tizer | 18 | 20 | Rubber Flooring | 172000000 | 1.18 ± 0.06 x 108 | 0.00 ± 0.00 | ≥8.07 ± 0.02
[5 empty] | New Grease (SOT) |  | 1.06 ± 0.10 x 108 | 1.27 ± 2.85 x 106 | 5.93 ± 2.70
[5 empty] | New HVAC Filter |  | 9.83 ± 1.02 x 107 | 0.00 ± 0.00 | ≥7.99 ± 0.04
[5 empty] | Mylar |  | 8.39 ± 1.24 x 107 | 1.41 ± 2.94 x 10 | 7.56 ± 0.72
[5 empty] | Fiberglass Siding |  | 3.99 ± 0.86 x 107 | 3.80 ± 5.54 x 102 | 6.03 ± 1.30
[5 empty] | Carpet |  | 6.42 ± 3.09 x 107 | 4.85 ± 3.24 x 106 | 1.24 ± 0.58
5 | 22% H2O2 (78) | Sani-Tizer | 18 | 20 | Rubber Flooring | 109000000 | 8.52 ± 1.05 x 107 | 0.00 ± 0.00 | ≥7.93 ± 0.05
[5 empty] | New Grease (SOT) |  | 1.07 ± 0.09 x 108 | 3.98 ± 4.53 x 106 | 1.70 ± 0.50
[5 empty] | New HVAC Filter |  | 9.79 ± 1.20 x 107 | 9.04 ± 12.6 x 104 | 5.85 ± 2.57
[5 empty] | Mylar |  | 8.51 ± 1.09 x 107 | 0.00 ± 0.00 | ≥7.93 ± 0.05
[5 empty] | Fiberglass Siding |  | 4.10 ± 0.95 x 107 | 2.40 ± 3.96 x 104 | 3.58 ± 0.50
[5 empty] | Carpet |  | 4.17 ± 2.52 x 107 | 1.90 ± 1.80 x 107 | 0.39 ± 0.42
6 | PAA (78) | Sani-Tizer | 8 | 20 | Rubber Flooring | 109000000 | 7.13 ± 0.16 x 107 | 7.87 ± 4.33 x 106 | 7.33 ± 1.03
[5 empty] | Encapsulated New Grease |  | 7.87 ± 4.33 x 106 | 1.88 ± 1.45 x 106 | 0.85 ± 0.68
[5 empty] | Used HVAC Filter |  | 7.75 ± 0.70 x 107 | 0.00 ± 0.00 | ≥7.89 ± 0.04
[5 empty] | Mylar |  | 6.73 ± 0.45 x 107 | 0.00 ± 0.00 | ≥7.83 ± 0.03
[5 empty] | Fiberglass Siding |  | 2.98 ± 1.27 x 107 | 1.34 ± 2.20 x 104 | 4.93 ± 2.03
[5 empty] | Unpainted Concrete |  | 6.13 ± 4.81 x 106 | 1.72 ± 1.26 x 105 | 1.57 ± 0.49
7 | PAA (160) | Sani-Tizer | 18 | 20 | Carpet | 103000000 | 2.10 ± 1.81 x 107 | 3.53 ± 4.11 x 105 | 2.16 ± 0.85
[5 empty] | Unpainted Concrete |  | 2.81 ± 2.38 x 106 | 5.97 ± 4.82 x 104 | 1.66 ± 0.68
[5 empty] | Used HVAC Filter |  | 6.27 ± 0.58 x 107 | 0.00 ± 0.00 | ≥7.80 ± 0.04
[5 empty] | New Grease (SOT) |  | 5.06 ± 5.77 x 106 | 1.31 ± 2.86 x 103 | 5.97 ± 1.19
[5 empty] | Encapsulated New Grease |  | 6.95 ± 6.34 x 106 | 2.16 ± 3.55 x 105 | 1.78 ± 1.14
[5 empty] | Used Grease (SOT) |  | 5.35 ± 0.85 x 107 | 0.00 ± 0.00 | ≥7.72 ± 0.06
8 | PAA (160) | Minncare | 18 | 20 | Carpet | 104000000 | 2.08 ± 1.32 x 107 | 2.42 ± 4.36 x 105 | 2.44 ± 0.71
[5 empty] | Unpainted Concrete |  | 3.00 ± 2.96 x 106 | 2.00 ± 2.13 x 105 | 1.27 ± 0.72
[5 empty] | Used HVAC Filter |  | 7.17 ± 0.72 x 107 | 0.00 ± 0.00 | ≥7.85 ± 0.04
[5 empty] | New Grease (SOT) |  | 8.60 ± 0.80 x 107 | 9.46 ± 21.2 x 103 | 7.00 ± 1.83
[5 empty] | Encapsulated New Grease |  | 4.32 ± 3.80 x 106 | 9.27 ± 13.1 x 105 | 1.00 ± 0.93
[5 empty] | Used Grease (SOT) |  | 9.04 ± 1.47 x 107 | 3.95 ± 8.58 x 105 | 5.76 ± 2.67
9 | PAA (160) | Minncare | 18 | 20 | Rubber Flooring | 84000000 | 6.98 ± 0.59 x 107 | 0.00 ± 0.00 | ≥7.84 ± 0.03
[5 empty] | Upholstery |  | 9.44 ± 0.69 x 107 | 0.00 ± 0.00 | ≥7.97 ± 0.03
[5 empty] | Aluminum |  | 8.91 ± 1.18 x 107 | 0.00 ± 0.00 | ≥7.95 ± 0.05
[5 empty] | Mylar |  | 7.97 ± 1.06 x 107 | 0.00 ± 0.00 | ≥7.90 ± 0.05
[5 empty] | Fiberglass Siding |  | 3.74 ± 0.42 x 107 | 1.34 ± 1.90 x 102 | 5.97 ± 0.87
[5 empty] | Carpet |  | 5.31 ± 2.37 x 107 | 4.39 ± 7.19 x 105 | 3.85 ± 2.17
10 | PAA (500) | Minncare | 18 | 20 | Carpet | 101000000 | 4.84 ± 1.94 x 107 | 2.82 ± 3.25 x 103 | 4.90 ± 1.39
[5 empty] | Encapsulated New Grease |  | 1.78 ± 1.63 x 106 | 2.11 ± 4.27 x 105 | 2.40 ± 1.65
[5 empty] | Used HVAC Filter |  | 8.39 ± 0.89 x 107 | 0.00 ± 0.00 | ≥7.92 ± 0.04
[5 empty] | Fiberglass Siding |  | 3.25 ± 0.90 x 107 | 1.21 ± 2.68 x 102 | 6.94 ± 1.10
[5 empty] | Unpainted Concrete |  | 2.04 ± 1.55 x 107 | 1.01 ± 1.07 x 105 | 2.41 ± 0.55
[5 empty] | Used Grease (SOT) |  | 8.62 ± 0.63 x 107 | 1.33 ± 2.98 x 103 | 7.17 ± 1.50
11 | PAA (160) | Sani-Tizer | 18 | 10 | Rubber Flooring | 96700000 | 7.85 ± 0.57 x 107 | 0.00 ± 0.00 | ≥7.89 ± 0.03
[5 empty] | Upholstery |  | 8.83 ± 1.22 x 107 | 2.54 ± 5.68 x 103 | 7.12 ± 1.61
[5 empty] | Aluminum |  | 8.50 ± 0.84 x 107 | 1.07 ± 2.38 x 102 | 7.38 ± 1.07
[5 empty] | Mylar |  | 6.13 ± 1.44 x 107 | 0.00 ± 0.00 | ≥7.78 ± 0.10
[5 empty] | Fiberglass Siding |  | 4.40 ± 0.76 x 107 | 7.08 ± 15.4 x 102 | 6.56 ± 1.40
[5 empty] | Carpet |  | 3.39 ± 1.64 x 107 | 6.43 ± 6.96 x 106 | 0.99 ± 0.61
12 | PAA (78) | Sani-Tizer | 18 | 10 | Rubber Flooring | 104000000 | 7.14 ± 0.65 x 107 | 1.07 ± 2.40 x 103 | 7.11 ± 1.46
[5 empty] | New Grease (SOT) |  | 1.07 ± 0.16 x 108 | 2.04 ± 2.95 x 106 | 3.40 ± 2.47
[5 empty] | New HVAC Filter |  | 1.04 ± 0.09 x 108 | 3.06 ± 6.84 x 105 | 6.47 ± 2.35
[5 empty] | Mylar |  | 8.41 ± 0.72 x 107 | 7.46 ± 14.4 | 7.62 ± 0.60
[5 empty] | Fiberglass Siding |  | 3.39 ± 0.38 x 107 | 5.63 ± 7.14 x 104 | 3.39 ± 0.87
[5 empty] | Carpet |  | 2.80 ± 2.33 x 107 | 9.70 ± 7.79 x 106 | 0.54 ± 0.58
13 | PAA (160) | Sani-Tizer | 18 | 10 | Carpet | 101000000 | 4.04 ± 1.73 x 107 | 7.90 ± 5.97 x 106 | 0.73 ± 0.32
[5 empty] | Unpainted Concrete |  | 5.66 ± 3.12 x 106 | 4.85 ± 3.97 x 105 | 1.24 ± 0.58
[5 empty] | Used HVAC Filter |  | 4.87 ± 0.71 x 107 | 0.00 ± 0.00 | ≥7.68 ± 0.06
[5 empty] | New Grease (SOT) |  | 7.30 ± 0.67 x 107 | 4.27 ± 7.72 x 105 | 3.81 ± 2.16
[5 empty] | Encapsulated New Grease |  | 1.32 ± 1.41 x 106 | 3.96 ± 3.87 x 105 | 0.77 ± 1.26
[5 empty] | Used Grease (SOT) |  | 7.67 ± 0.24 x 107 | 2.32 ± 4.32 x 106 | 3.31 ± 2.41
14 | PAA (500) | Minncare | 18 | 10 | Carpet | 113000000 | 4.75 ± 2.57 x 107 | 1.89 ± 1.46 x 106 | 1.43 ± 0.41
[5 empty] | Encapsulated New Grease |  | 1.38 ± 0.40 x 107 | 5.81 ± 7.65 x 105 | 1.65 ± 0.51
[5 empty] | Used HVAC Filter |  | 8.11 ± 1.04 x 107 | 9.42 ± 20.8 x 10 | 7.37 ± 1.05
[5 empty] | Fiberglass Siding |  | 3.08 ± 1.05 x 107 | 1.12 ± 2.23 x 104 | 5.38 ± 1.87
[5 empty] | Unpainted Concrete |  | 1.23 ± 0.54 x 107 | 9.76 ± 2.70 x 104 | 2.06 ± 0.29
[5 empty] | Used Grease (SOT) |  | 6.65 ± 2.24 x 107 | 4.89 ± 10.1 x 105 | 3.87 ± 2.11
15 | PAA (500) | Sani-Tizer | 18 | 20 | Carpet | 100000000 | 2.09 ± 1.31 x 107 | 2.22 ± 4.96 x 104 | 6.26 ± 1.99
[5 empty] | Encapsulated New Grease |  | 4.75 ± 0.83 x 106 | 3.41 ± 4.95 x 105 | 2.77 ± 2.19
[5 empty] | Used HVAC Filter |  | 6.72 ± 2.14 x 107 | 0.00 ± 0.00 | ≥7.80 ± 0.15
[5 empty] | Fiberglass Siding |  | 3.12 ± 2.08 x 107 | 1.27 ± 2.83 x 102 | 6.86 ± 1.13
[5 empty] | Unpainted Concrete |  | 1.48 ± 1.15 x 107 | 7.27 ± 8.64 x 104 | 2.70 ± 0.86
[5 empty] | Used Grease (SOT) |  | 8.74 ± 1.20 x 107 | 1.16 ± 2.59 x 105 | 6.22 ± 2.25
16 | 35% H2O2 (500) | Minncare | 18 | 20 | Carpet | 90300000 | 2.98 ± 1.76 x 107 | 3.62 ± 3.59 x 106 | 1.01 ± 0.49
[5 empty] | Encapsulated New Grease |  | 5.05 ± 2.17 x 106 | 5.83 ± 4.84 x 105 | 1.15 ± 0.61
[5 empty] | Used HVAC Filter |  | 6.98 ± 7.63 x 107 | 3.39 ± 4.66 x 10 | 7.08 ± 0.92
[5 empty] | Fiberglass Siding |  | 3.54 ± 2.10 x 107 | 3.06 ± 5.59 x 103 | 5.30 ± 1.50
[5 empty] | Unpainted Concrete |  | 7.10 ± 12.8 x 107 | 5.37 ± 4.89 x 105 | 1.87 ± 0.72
[5 empty] | Used Grease (SOT) |  | 6.49 ± 3.63 x 107 | 1.02 ± 1.56 x 106 | 2.34 ± 1.43
17 | 35% H2O2 (1000) | Sani-Tizer | 18 | 20 | Carpet | 103000000 | 2.92 ± 0.79 x 107 | 1.73 ± 0.79 x 105 | 2.29 ± 0.31
[5 empty] | Encapsulated New Grease |  | 8.55 ± 0.60 x 107 | 4.24 ± 5.96 x 105 | 2.69 ± 0.59
[5 empty] | Used HVAC Filter |  | 7.20 ± 0.39 x 107 | 1.16 ± 2.55 x 103 | 6.74 ± 1.47
[5 empty] | Fiberglass Siding |  | 5.37 ± 4.39 x 107 | 4.74 ± 1.02 x 102 | 6.61 ± 1.35
[5 empty] | Unpainted Concrete |  | 6.83 ± 1.47 x 106 | 3.02 ± 2.81 x 105 | 1.57 ± 0.49
[5 empty] | Used Grease (SOT) |  | 7.92 ± 0.46 x 107 | 8.14 ± 8.30 x 102 | 5.73 ± 1.23
18 | PAA (1000) | Sani-Tizer | 18 | 20 | Carpet | 66000000 | 5.28 ± 1.85 x 107 | 3.43 ± 5.65 x 105 | 3.31 ± 1.45
[5 empty] | Encapsulated New Grease |  | 1.22 ± 6.53 x 106 | 1.46 ± 3.15 x 105 | 1.99 ± 0.97
[5 empty] | New Grease (SOT) |  | 8.27 ± 1.40 x 107 | 7.46 ± 1.44 | 7.61 ± 0.60
[5 empty] | Fiberglass Siding |  | 4.18 ± 0.85 x 107 | 5.67 ± 12.6 x 105 | 5.56 ± 2.60
[5 empty] | Unpainted Concrete |  | 1.38 ± 0.70 x 107 | 1.95 ± 1.79 x 105 | 1.91 ± 0.36
[5 empty] | Used Grease (SOT) |  | 8.39 ± 2.09 x 107 | 0.00 ± 0.00 | ≥7.91 ± 0.10
19 | PAA (1000) | Sani-Tizer | 18 | 10 | Carpet (Subway) | 71700000 | 2.46 ± 2.56 x 107 | ± | ±
[5 empty] | Encapsulated New Grease |  | 4.18 ± 3.01 x 106 | 9.35 ± 6.76 x 105 | 0.67 ± 0.52
[5 empty] | Carpet (New) |  | 7.01 ± 0.50 x 107 | 1.30 ± 2.21 x 104 | 4.32 ± 0.74
[5 empty] | Fiberglass Siding |  | 3.47 ± 0.35 x 107 | 1.16 ± 1.82 x 103 | 6.17 ± 1.65
[5 empty] | Unpainted Concrete |  | 4.38 ± 4.77 x 106 | ± | ±
[5 empty] | Used Grease (SOT) |  | 8.50 ± 0.55 x 107 | ± | ±
20 | 35% H2O2 (1000) | Sani-Tizer | 18 | 10 | Carpet |  | 4.70 ± 3.75 x 107 | ± | ±
[5 empty] | Encapsulated New Grease |  | 3.86 ± 2.23 x 108 | ± | ±
[5 empty] | Used HVAC Filter |  | 7.58 ± 1.39 x 107 | 0.00 ± 0.00 | ≥7.87 ± 0.07
[5 empty] | Fiberglass Siding |  | 3.47 ± 1.18 x 107 | 2.12 ± 3.80 x 103 | 5.56 ± 1.62
[5 empty] | Unpainted Concrete |  | 4.90 ± 3.98 x 106 | 8.11 ± 3.07 x 105 | 0.70 ± 0.34
[5 empty] | Used Grease (SOT) |  | 7.62 ± 1.01 x 107 | ± | ±
21 | [6 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
* denotes temp. & RH were not controlled
† denotes samples were pulled from each location every 24hr

## B. atrophaeus comprehensive
Test Number | Decon Solution (mL) | Equipment | Contact Time (hour) | Temp (°C) | Material | Inoculum (CFU/coupon) | Mean Recovered B. atrophaeus (CFU/coupon) |  | Decontamination Efficacy ± CId
[7 empty] | Positive Controlb | Test Couponc
1 | PAA (160) | Sani-Tizer | 18 | 20 | Rubber Flooring | 85000000 | 2.30 ± 2.57 x 107 | 0.00 ± 0.00 | ≥7.21 ± 0.33
[5 empty] | Upholstery |  | 7.61 ± 2.49 x 106 | 0.00 ± 0.00 | ≥6.86 ± 0.12
[5 empty] | Aluminum |  | 1.20 ± 0.39 x 106 | 0.00 ± 0.00 | ≥7.06 ± 0.13
[5 empty] | Mylar |  | 8.38 ± 3.62 x 106 | 0.00 ± 0.00 | ≥6.89 ± 0.17
[5 empty] | Fiberglass Siding |  | 3.11 ± 1.31 x 106 | 0.00 ± 0.00 | ≥6.47 ± 0.14
[5 empty] | Carpet |  | 1.75 ± 1.27 x 107 | 6.05 ± 7.00 x 105 | 2.49 ± 2.30
2 | 8% H2O2 (2635) | Sani-Tizer | 168 | 20 | Rubber Flooring | 111000000 | 6.89 ± 2.77 x 106 | 0.00 ± 0.00 | ≥6.81 ± 0.16
[5 empty] | Upholstery |  | 1.82 ± 0.75 x 106 | 0.00 ± 0.00 | ≥6.23 ± 0.14
[5 empty] | Aluminum |  | 1.68 ± 1.02 x 107 | 0.00 ± 0.00 | ≥7.18 ± 0.18
[5 empty] | Mylar |  | 1.35 ± 1.56 x 107 | 0.00 ± 0.00 | ≥6.96 ± 0.33
[5 empty] | Fiberglass Siding |  | 2.37 ± 0.62 x106 | 1.41 ± 2.94 x10 | 6.00 ± 0.72
[5 empty] | Carpet |  | 4.36 ± 1.03 x 106 | 7.86 ± 17.6 x 103 | 5.71 ± 1.80
3 | PAA (160) | Sani-Tizer | 168† 24hr, 48hr, 120hr, 144hr, 168hr) | 20 | Carpet | 119000000 | 1.31 ± 0.96 x 107 | 1.36 ± 1.63 x 105 | 2.54 ± 1.07
[7 empty] | 1.31 ± 0.96 x 107 | 1.67 ± 2.83 x 105 | 2.68 ± 1.35
[7 empty] | 1.31 ± 0.96 x 107 | 1.62 ± 2.64 x 105 | 2.71 ± 1.46
[7 empty] | 1.31 ± 0.96 x 107 | 4.99 ± 1.54 x 104 | 2.34 ± 0.31
[7 empty] | 1.31 ± 0.96 x 107 | 6.19 ± 6.51 x 104 | 3.27 ± 1.91
4 | PAA (78) | Sani-Tizer | 18 | 20 | Rubber Flooring | 106000000 | 2.13 ± 0.81 x 107 | 0.00 ± 0.00 | ≥7.30 ± 0.16
[5 empty] | New Grease (SOT) |  | 6.30 ± 2.81 x 106 | 1.41 ± 2.94 x 10 | 6.39 ± 0.74
[5 empty] | New HVAC Filter |  | 3.97 ± 1.04 x 106 | 0.00 ± 0.00 | 6.59 ± 0.10
[5 empty] | Mylar |  | 9.75 ± 1.60 x 106 | 0.00 ± 0.00 | 6.98 ± 0.06
[5 empty] | Fiberglass Siding |  | 3.12 ± 1.50 x 106 | 1.39 ± 1.77 x 10 | 5.84 ± 0.76
[5 empty] | Carpet |  | 1.26 ± 0.88 x 107 | 2.96 ± 2.43 x 106 | 0.70 ± 0.40
5 | 22% H2O2 (78) | Sani-Tizer | 18 | 20 | Rubber Flooring | 109000000 | 8.52 ± 1.05 x 107 | 0.00 ± 0.00 | ≥7.93 ± 0.05
[5 empty] | New Grease (SOT) |  | 1.07 ± 0.09 x 108 | 3.98 ± 4.53 x 106 | 1.70 ± 0.50
[5 empty] | New HVAC Filter |  | 9.79 ± 1.20 x 107 | 9.04 ± 12.6 x104 | 5.85 ± 2.57
[5 empty] | Mylar |  | 8.51 ± 1.09 x 107 | 0.00 ± 0.00 | ≥7.93 ± 0.05
[5 empty] | Fiberglass Siding |  | 4.01 ± 0.10 x 107 | 2.40 ± 3.96 x 104 | 3.58 ± 0.50
[5 empty] | Carpet |  | 4.17 ± 2.52 x 107 | 1.90 ± 1.80 x 107 | 0.39 ± 0.42
6 | PAA (78) | Sani-Tizer | 8 | 20 | Rubber Flooring | 102000000 | 2.74 ± 1.29 x 107 | 4.03 ± 5.43 x 10 | 6.35 ± 0.89
[5 empty] | Encapsulated New Grease |  | 9.89 ± 8.05 x 105 | 3.08 ± 3.88 x 104 | 1.57 ± 0.94
[5 empty] | Used HVAC Filter |  | 5.89 ± 1.99 x 106 | 0.00 ± 0.00 | ≥6.75 ± 0.14
[5 empty] | Mylar |  | 1.52 ± 0.93 x 107 | 0.00 ± 0.00 | ≥7.13 ± 0.20
[5 empty] | Fiberglass Siding |  | 4.77 ± 3.01 x 106 | 1.41 ± 2.08 x 102 | 5.61 ± 1.24
[5 empty] | Unpainted Concrete |  | 2.50 ± 1.42 x 105 | 2.53 ± 1.49 x 104 | 1.03 ± 0.38
7 | PAA (160) | Sani-Tizer | 18 | 20 | Carpet | 139000000 | 2.31 ± 1.42 x 107 | 5.55 ± 6.55 x 105 | 2.23 ± 1.14
[5 empty] | Unpainted Concrete |  | 2.39 ± 2.05 x 105 | 1.12 ± 1.07 x 105 | 0.30 ± 0.46
[5 empty] | Used HVAC Filter |  | 5.31 ± 5.89 x 106 | 0.00 ± 0.00 | ≥6.72 ± 0.04
[5 empty] | New Grease (SOT) |  | 1.74 ± 1.74 x 107 | 4.35 ± 9.70 x 102 | 6.38 ± 1.37
[5 empty] | Encapsulated New Grease |  | 1.12 ± 1.37 x 106 | 1.54 ± 2.10 x 102 | 4.83 ± 1.29
[5 empty] | Used Grease (SOT) |  | 1.40 ± 1.96 x 107 | 1.50 ± 3.35 x 104 | 5.94 ± 1.95
8 | PAA (160) | Minncare | 18 | 20 | Carpet | 116000000 | 9.32 ± 3.42 x 107 | 7.32 ± 6.64 x 105 | 2.46 ± 0.85
[5 empty] | Unpainted Concrete |  | 7.92 ± 7.66 x 105 | 6.82 ± 8.71 x 103 | 2.07 ± 0.63
[5 empty] | Used HVAC Filter |  | 2.04 ± 1.32 x 107 | 0.00 ± 0.00 | ≥7.20 ± 0.33
[5 empty] | New Grease (SOT) |  | 2.90 ± 1.70 x 106 | 0.00 ± 0.00 | ≥6.41 ± 0.22
[5 empty] | Encapsulated New Grease |  | 1.08 ± 1.17 x 105 | 3.59 ± 3.37 x 103 | 1.57 ± 1.21
[5 empty] | Used Grease (SOT) |  | 1.09 ± 1.64 x 107 | 4.73 ± 8.65 x 10 | 5.67 ± 1.22
9 | PAA (160) | Minncare | 18 | 20 | Rubber Flooring | 105000000 | 1.11 ± 0.24 x 107 | 0.00 ± 0.00 | ≥7.04 ± 0.08
[5 empty] | Upholstery |  | 5.23 ± 4.09 x 107 | 0.00 ± 0.00 | ≥7.56 ± 0.40
[5 empty] | Aluminum |  | 4.50 ± 0.94 x 107 | 0.00 ± 0.00 | ≥7.65 ± 0.08
[5 empty] | Mylar |  | 4.75 ± 5.32 x 107 | 0.00 ± 0.00 | ≥7.39 ± 0.50
[5 empty] | Fiberglass Siding |  | 4.95 ± 2.34 x 106 | 0.00 ± 0.00 | ≥6.66 ± 0.18
[5 empty] | Carpet |  | 1.09 ± 0.46 x 107 | 3.54 ± 3.95 x 105 | 1.70 ± 0.49
10 | PAA (500) | Minncare | 18 | 20 | Carpet | 107000000 | 2.58 ± 1.59 x 107 | 9.26 ± 14.8 x 104 | 2.92 ± 0.79
[5 empty] | Encapsulated New Grease |  | 5.69 ± 5.35 x 105 | 7.15 ± 15.7 x 104 | 2.47 ± 1.33
[5 empty] | Used HVAC Filter |  | 8.60 ± 0.82 x 106 | 0.00 ± 0.00 | ≥6.93 ± 0.04
[5 empty] | Fiberglass Siding |  | 1.20 ± 0.84 x 107 | 7.46 ± 14.4 | 6.71 ± 0.64
[5 empty] | Unpainted Concrete |  | 3.73 ± 1.73 x 105 | 4.16 ± 3.21 x 103 | 2.04 ± 0.36
[5 empty] | Used Grease (SOT) |  | 1.60 ± 0.16 x 107 | 1.14 ± 1.52 x 102 | 5.94 ± 1.06
11 | PAA (160) | Sani-Tizer | 18 | 10 | Rubber Flooring | 91300000 | 2.11 ± 1.15 x 107 | 0.00 ± 0.00 | ≥7.28 ± 0.17
[5 empty] | Upholstery |  | 1.62 ± 0.29 x 107 | 0.00 ± 0.00 | ≥7.20 ± 0.07
[5 empty] | Aluminum |  | 2.35 ± 0.73 x 107 | 0.00 ± 0.00 | ≥7.35 ± 0.12
[5 empty] | Mylar |  | 1.59 ± 0.37 x 107 | 0.00 ± 0.00 | ≥7.19 ± 0.08
[5 empty] | Fiberglass Siding |  | 5.44 ± 2.00 x 106 | 2.20 ± 3.52 x 102 | 5.30 ± 1.19
[5 empty] | Carpet |  | 2.35 ± 1.13 x 107 | 9.36 ± 5.01 x 105 | 1.48 ± 0.44
12 | PAA (78) | Sani-Tizer | 18 | 10 | Rubber Flooring | 122000000 | 2.19 ± 0.83 x 107 | 0.00 ± 0.00 | ≥7.31 ± 0.16
[5 empty] | New Grease (SOT) |  | 6.41 ± 0.84 x 106 | 7.02 ± 15.5 x 104 | 3.58 ± 1.29
[5 empty] | New HVAC Filter |  | 4.57 ± 1.86 x 106 | 0.00 ± 0.00 | ≥6.64 ± 0.13
[5 empty] | Mylar |  | 1.90 ± 0.73 x 107 | 0.00 ± 0.00 | ≥7.26 ± 0.14
[5 empty] | Fiberglass Siding |  | 5.11 ± 3.35 x 106 | 1.35 ± 1.78 x 104 | 3.21 ± 0.94
[5 empty] | Carpet |  | 1.09 ± 1.13 x 107 | 3.41 ± 1.71 x 105 | 1.43 ± 0.36
13 | PAA (160) | Sani-Tizer | 18 | 10 | Carpet | 122000000 | 2.21 ± 2.76 x 107 | 1.52 ± 9.42 x 105 | 0.99 ± 0.48
[5 empty] | Unpainted Concrete |  | 3.52 ± 2.45 x 105 | 2.93 ± 4.50 x 104 | 1.36 ± 0.64
[5 empty] | Used HVAC Filter |  | 1.08 ± 0.64 x 107 | 0.00 ± 0.00 | ≥6.96 ± 0.25
[5 empty] | New Grease (SOT) |  | 1.05 ± 0.12 x 107 | 2.86 ± 4.69 x 103 | 4.97 ± 1.69
[5 empty] | Encapsulated New Grease |  | 2.60 ± 2.96 x 105 | 8.39 ± 9.23 x 103 | 2.16 ± 1.59
[5 empty] | Used Grease (SOT) |  | 7.40 ± 5.30 x 106 | 7.47 ± 11.2 x 102 | 5.50 ± 1.58
14 | PAA (500) | Minncare | 18 | 10 | Carpet | 85300000 | 2.18 ± 2.01 x 107 | 3.03 ± 3.52 x 106 | 0.90 ± 0.59
[5 empty] | Encapsulated New Grease |  | 7.28 ± 7.55 x 105 | 2.88 ± 6.22 x 104 | 2.55 ± 1.86
[5 empty] | Used HVAC Filter |  | 7.23 ± 2.48 x 106 | 0.00 ± 0.00 | ≥6.84 ± 0.13
[5 empty] | Fiberglass Siding |  | 4.63 ± 2.02 x 106 | 0.00 ± 0.00 | ≥6.63 ± 0.16
[5 empty] | Unpainted Concrete |  | 7.10 ± 3.88 x 105 | 1.00 ± 0.67 x 104 | 1.90 ± 0.35
[5 empty] | Used Grease (SOT) |  | 1.01 ± 0.30 x 107 | 1.29 ± 2.86 x 103 | 5.92 ± 1.47
15 | PAA (500) | Sani-Tizer | 18 | 20 | Carpet | 100000000 | 1.05 ± 0.50 x 107 | 6.04 ± 4.18 x 105 | 1.36 ± 0.47
[5 empty] | Encapsulated New Grease |  | 4.04 ± 5.50 x 105 | 3.18 ± 4.33 x 104 | 2.33 ± 1.83
[5 empty] | Used HVAC Filter |  | 8.26 ± 1.21 x 106 | 0.00 ± 0.00 | ≥6.91 ± 0.06
[5 empty] | Fiberglass Siding |  | 7.99 ± 5.09 x 106 | 0.00 ± 0.00 | ≥6.84 ± 0.21
[5 empty] | Unpainted Concrete |  | 5.32 ± 7.14 x 105 | 4.71 ± 2.51 x 104 | 0.78 ± 0.72
[5 empty] | Used Grease (SOT) |  | 8.17 ± 3.77 x 106 | 0.00 ± 0.00 | ≥6.88 ± 0.14
16 | 35% H2O2 (500) | Minncare | 18 | 20 | Carpet | 103000000 | 8.22 ± 1.76 x 106 | 1.32 ± 0.84 x 106 | 1.05 ± 0.69
[5 empty] | Encapsulated New Grease |  | 6.29 ± 6.68 x 105 | 1.89 ± 2.49 x 105 | 1.25 ± 1.28
[5 empty] | Used HVAC Filter |  | 9.25 ± 1.70 x 106 | 0.00 ± 0.00 | ≥6.96 ± 0.06
[5 empty] | Fiberglass Siding |  | 2.37 ± 1.65 x 106 | 5.01 ± 11.2 x 102 | 5.63 ± 1.35
[5 empty] | Unpainted Concrete |  | 9.54 ± 4.46 x 105 | 1.38 ± 1.25 x 105 | 1.10 ± 0.75
[5 empty] | Used Grease (SOT) |  | 1.20 ± 0.55 x 107 | 6.51 ± 12.5 x 103 | 4.98 ± 1.79
17 | 35% H2O2 (1000) | Sani-Tizer | 18 | 20 | Carpet | 111000000 | 1.08 ± 0.69 x 107 | 1.71 ± 1.83 x 105 | 2.27 ± 0.881
[5 empty] | Encapsulated New Grease |  | 8.01 ± 1.99 x 106 | 1.87 ± 3.05 x 105 | 2.59 ± 1.27
[5 empty] | Used HVAC Filter |  | 6.85 ± 1.89 x 106 | 0.00 ± 0.00 | ≥6.82 ± 0.09
[5 empty] | Fiberglass Siding |  | 4.77 ± 2.37 x 106 | 3.33 ± 7.20 x 103 | 5.26 ± 1.73
[5 empty] | Unpainted Concrete |  | 2.10 ± 1.02 x 105 | 8.14 ± 4.21 x 103 | 1.41 ± 0.27
[5 empty] | Used Grease (SOT) |  | 8.93 ± 4.44 x 106 | 0.00 ± 0.00 | ≥6.92 ± 0.16
18 | PAA (1000) | Sani-Tizer | 18 | 20 | Carpet | 108000000 | 1.25 ± 0.93 x 107 | 3.28 ± 6.00 x 105 | 2.09 ± 0.75
[5 empty] | Encapsulated New Grease |  | 4.66 ± 4.65 x 105 | 1.32 ± 1.74 x 103 | 2.83 ± 0.93
[5 empty] | New Grease (SOT) |  | 2.40 ± 2.23 x 106 | 5.88 ± 12.8 x 102 | 5.21 ± 1.40
[5 empty] | Fiberglass Siding |  | 7.50 ± 3.02 x 106 | 1.88 ± 4.20 x 104 | 5.24 ±1.79
[5 empty] | Unpainted Concrete |  | 1.18 ± 0.81 x 106 | 2.54 ± 3.23 x104 | 2.21 ± 1.01
[5 empty] | Used Grease (SOT) |  | 6.11 ± 1.48 x 106 | 2.02 ± 4.46 x 103 | 5.58 ± 1.57
19 | PAA (1000) | Sani-Tizer | 18 | 10 | Carpet (Subway) | 93300000 | 1.73 ± 1.58 x 107 | ± | ±
[5 empty] | Encapsulated New Grease |  | 1.16 ± 6.55 x 106 | ± | ±
[5 empty] | Carpet (New) |  | 3.65 ± 1.13 x 107 | 7.85 ± 6.09 x 102 | 4.81 ± 0.43
[5 empty] | Fiberglass Siding |  | ± | 0.00 ± 0.00 | ±
[5 empty] | Unpainted Concrete |  | ± | 5.34 ± 7.97 x 103 | ±
[5 empty] | Used Grease (SOT) |  | ± | ± | ±
20 | 35% H2O2 (1000) | Sani-Tizer | 18 | 10 | Carpet |  | 1.36 ± 0.99 x 107 | ± | ±
[5 empty] | Encapsulated New Grease |  | 5.26 ± 5.93 x 105 | 5.88 ± 5.74 x 104 | 0.80 ± 0.70
[5 empty] | Used HVAC Filter |  | 4.08 ± 1.14 x 106 | 8.07 ± 16.1 x 10 | 5.78 ± 1.04
[5 empty] | Fiberglass Siding |  | ± | ± | ±
[5 empty] | Unpainted Concrete |  | ± | ± | ±
[5 empty] | Used Grease (SOT) |  | 6.09 ± 1.99 x 106 | ± | ±
21 | [6 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±
[7 empty] | ± | ± | ±

## Test Matrix
test no. (repeat) | equipment | decon | Temp (°C) | decon vol. (mL) | contact time (hrs) | Materials
1 | Sani-tizer | PAA | 20 | 160 | 18 | Rubber | Upholstery | Aluminum | Mylar | Fiberglass | Carpet
2 | Sani-tizer | 8% H2O2 | 20 | 2635 | 168 | Rubber | Upholstery | Aluminum | Mylar | Fiberglass | Carpet
3 | Sani-tizer | PAA | 20 | 160 | 1-5 days | [5 empty] | Carpet
4 | Sani-tizer | PAA | 20 | 78 | 18 | Rubber |  |  | Mylar | Fiberglass | Carpet |  | New Grease |  |  |  | New Filter
5 | Sani-tizer | 22% H2O2 | 20 | 78 | 18 | Rubber |  |  | Mylar | Fiberglass | Carpet |  | New Grease |  |  |  | New Filter
6 | Sani-tizer | PAA | 20 | 78 | 8 | Rubber |  |  | Mylar | Fiberglass |  | Concrete | New Grease |  |  |  |  | Used Filter
7 | Sani-tizer | PAA | 20 | 160 | 18 | [5 empty] | Carpet | Concrete |  | New Grease (sot) | New Grease (mixed) | Used Grease (sot) |  | Used Filter
8 | MinnCare | PAA | 20 | 160 | 18 | [5 empty] | Carpet | Concrete |  | New Grease (sot) | New Grease (mixed) | Used Grease (sot) |  | Used Filter
9 | MinnCare | PAA | 20 | 160 | 18 | Rubber | Upholstery | Aluminum | Mylar | Fiberglass | Carpet
10 | MinnCare | PAA | 20 | 500 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
11 (1) | Sani-tizer | PAA | 10 | 160 | 18 | Rubber | Upholstery | Aluminum | Mylar | Fiberglass | Carpet
12 (4) | Sani-tizer | PAA | 10 | 78 | 18 | Rubber |  |  | Mylar | Fiberglass | Carpet |  | New Grease |  |  |  | New Filter
13 (7) | Sani-tizer | PAA | 10 | 160 | 18 | [5 empty] | Carpet | Concrete |  | New Grease (sot) | New Grease (mixed) | Used Grease (sot) |  | Used Filter
14 (10) | MinnCare | PAA | 10 | 500 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
15 | Sani-tizer | PAA | 20 | 500 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
16 | MinnCare | 35% H2O2 | 20 | 500 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
17 | Sani-tizer | 35% H2O2 | 20 | 1000 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
18 | Sani-tizer | PAA | 20 | 1000 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  | New Grease (sot) | New Grease (mixed) | Used Grease (sot)
19 | Sani-tizer | PAA | 10 | 1000 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  |  | New Carpet
20 (17) | Sani-tizer | 35% H2O2 | 10 | 1000 | 18 |  |  |  |  | Fiberglass | Carpet | Concrete |  |  | New Grease (mixed) | Used Grease (sot) |  | Used Filter
21

## 10 v 20°C
20° C Testing |  |  |  |  | 10° C Testing
Log Reduction
Test 1 | B. anthracis | ±CI | B. atropheaus | ±CI | Test 11 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 7.94 | 0.097 | 7.21 | 0.329 | Rubber Flooring | 7.89 | 0.028 | 7.25 | 0.06
Upholstery | 8.08 | 0.01 | 6.86 | 0.12 | Upholstery | 7.12 | 1.61 | 7.2 | 0.07
Aluminum | 7.88 | 0.042 | 7.06 | 0.134 | Aluminum | 7.38 | 1.07 | 7.29 | 0.127
Mylar | 8.06 | 0.1 | 6.89 | 0.17 | Mylar | 7.83 | 0.04 | 7.2 | 0.08
Fiberglass Interior Siding | 7.58 | 0.102 | 6.47 | 0.142 | Fiberglass Interior Siding | 6.55 | 1.395 | 5.3 | 1.189
Carpet | 2.37 | 1.302 | 2.49 | 2.304 | Carpet | 0.99 | 0.608 | 1.48 | 0.436
Test 2 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 7.98 | 0.05 | 6.81 | 0.158
Upholstery | 7.99 | 0.06 | 6.23 | 0.14
Aluminum | 8.01 | 0.43 | 7.18 | 0.181
Mylar | 7.93 | 0.05 | 6.96 | 0.33
Fiberglass Interior Siding | 6.77 | 1.493 | 6 | 0.721
Carpet | 4.51 | 2.593 | 5.71 | 1.803
Test 3 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet 24 Hr | 1.71 | 0.665 | 2.54 | 1.071
Carpet 48 Hr | 2.69 | 0.94 | 2.68 | 1.35
Carpet 120 Hr | 1.84 | 0.364 | 2.71 | 1.457
Carpet 144 Hr | 1.66 | 0.68 | 2.34 | 0.31
Carpet 168 Hr | 2.84 | 1.469 | 3.27 | 1.907
Test 4 | B. anthracis | ±CI | B. atropheaus | ±CI | Test 12 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 8.07 | 0.018 | 7.3 | 0.158 | Rubber Flooring | 7.11 | 1.46 | 7.31 | 0.156
New Grease SOT | 5.93 | 2.7 | 6.39 | 0.74 | New Grease SOT | 3.4 | 2.47 | 3.58 | 1.29
New Filter | 7.99 | 0.04 | 6.59 | 0.095 | New Filter | 6.47 | 2.34 | 6.64 | 0.132
Mylar | 7.56 | 0.72 | 6.98 | 0.06 | Mylar | 7.62 | 0.6 | 7.26 | 1.14
Fiberglass Interior Siding | 6.03 | 1.301 | 5.84 | 0.757 | Fiberglass Interior Siding | 3.39 | 0.087 | 3.21 | 0.94
Carpet | 1.24 | 0.576 | 0.7 | 0.4 | Carpet | 0.54 | 0.578 | 1.43 | 0.36
Test 5 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 7.93 | 0.046 | 6.12 | 1.858
New Grease SOT | 1.7 | 0.5 | 3.75 | 1.9
New Filter | 5.85 | 5.569 | 6.38 | 0.079
Mylar | 7.93 | 0.05 | 6.99 | 0.13
Fiberglass Interior Siding | 3.58 | 0.502 | 4.07 | 1.28
Carpet | 0.39 | 0.416 | 0.41 | 0.287
Test 6 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 7.33 | 1.034 | 6.35 | 0.881
Encapsulated New Grease | 0.85 | 0.68 | 1.57 | 0.94
Used Filter | 7.89 | 0.036 | 6.75 | 0.143
Mylar | 7.83 | 0.03 | 7.13 | 0.2
Fiberglass Interior Siding | 4.93 | 2.029 | 5.61 | 1.235
Unpainted Concrete | 1.57 | 0.485 | 1.03 | 0.375
Test 7 | B. anthracis | ±CI | B. atropheaus | ±CI | Test 13 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 2.16 | 0.847 | 2.23 | 1.143 | Carpet | 0.73 | 0.32 | 0.99 | 0.48
Unpainted Concrete | 1.66 | 0.68 | 0.3 | 0.46 | Unpainted Concrete | 1.24 | 0.58 | 1.36 | 0.64
Used Filter | 7.8 | 0.035 | 6.72 | 0.04 | Used Filter | 7.68 | 0.06 | 6.96 | 0.25
New Grease SOT | 5.97 | 1.19 | 6.38 | 1.37 | New Grease SOT | 3.81 | 2.16 | 4.97 | 1.69
Encapsulated New Grease | 1.78 | 1.137 | 4.83 | 1.288 | Encapsulated New Grease | 0.77 | 1.26 | 2.16 | 1.59
Used Grease SOT | 7.72 | 0.063 | 5.94 | 1.95 | Used Grease SOT | 3.31 | 2.41 | 5.5 | 1.58
Test 8 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 2.44 | 0.714 | 2.46 | 0.852
Unpainted Concrete | 1.27 | 0.72 | 2.07 | 0.63
Used Filter | 7.85 | 0.039 | 7.2 | 0.333
New Grease SOT | 7 | 1.83 | 6.41 | 0.22
Encapsulated New Grease | 1 | 0.931 | 1.57 | 1.121
Used Grease SOT | 5.76 | 2.674 | 5.67 | 1.222
Test 9 | B. anthracis | ±CI | B. atropheaus | ±CI
Rubber Flooring | 7.84 | 0.032 | 7.04 | 0.078
Upholstery | 7.97 | 0.03 | 7.56 | 0.4
Aluminum | 7.95 | 0.052 | 7.65 | 0.076
Mylar | 7.9 | 0.05 | 7.39 | 0.5
Fiberglass Interior Siding | 5.97 | 0.869 | 6.66 | 0.179
Carpet | 3.85 | 2.171 | 1.7 | 0.49
Test 10 | B. anthracis | ±CI | B. atropheaus | ±CI | Test 14 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 4.9 | 1.385 | 2.92 | 0.786 | Carpet | 1.43 | 0.41 | 0.9 | 0.59
Encapsulated New Grease | 2.4 | 1.645 | 2.47 | 1.33 | Encapsulated New Grease | 1.65 | 0.51 | 2.55 | 1.86
Used Filter | 7.92 | 0.041 | 6.93 | 0.037 | Used Filter | 7.37 | 1.05 | 6.84 | 0.13
Fiberglass Interior Siding | 6.94 | 1.096 | 6.71 | 0.64 | Fiberglass Interior Siding | 5.38 | 1.87 | 6.63 | 0.16
Unpainted Concrete | 2.41 | 0.55 | 2.04 | 0.364 | Unpainted Concrete | 2.06 | 0.29 | 1.9 | 0.35
Used Grease SOT | 7.17 | 1.499 | 5.94 | 1.063 | Used Grease SOT | 3.87 | 2.11 | 5.92 | 1.47
Test 15 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 6.26 | 1.99 | 1.36 | 0.47
Encapsulated New Grease | 2.77 | 2.19 | 2.33 | 1.83
Used HVAC Filter | 7.8 | 0.15 | 6.91 | 0.05
Fiberglass Interior Siding | 6.86 | 1.13 | 6.84 | 0.21
Unpainted Concrete | 2.7 | 0.86 | 0.78 | 0.72
Used Grease SOT | 6.22 | 2.25 | 6.88 | 0.14
Test 16 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 1.01 | 0.49 | 1.05 | 0.69
Encapsulated New Grease | 1.15 | 0.61 | 1.25 | 1.28
Used HVAC Filter | 7.08 | 0.92 | 6.96 | 0.06
Fiberglass Interior Siding | 5.3 | 1.5 | 5.63 | 1.35
Unpainted Concrete | 1.87 | 0.72 | 1.1 | 0.75
Used Grease SOT | 2.34 | 1.43 | 4.98 | 1.79
Test 17 | B. anthracis | ±CI | B. atropheaus | ±CI | Test 20 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 2.29 | 0.31 | 2.27 | 0.88 | Carpet
Encapsulated New Grease | 2.69 | 0.59 | 2.59 | 1.27 | Encapsulated New Grease |  |  | 0.8 | 0.7
Used HVAC Filter | 6.74 | 1.47 | 6.82 | 0.09 | Used Filter | 7.87 | 0.07 | 5.78 | 1.04
Fiberglass Interior Siding | 6.61 | 1.35 | 5.26 | 1.73 | Fiberglass Interior Siding | 5.56 | 1.62
Unpainted Concrete | 1.57 | 0.49 | 1.41 | 0.27 | Unpainted Concrete | 0.7 | 0.34
Used Grease SOT | 5.73 | 1.23 | 6.92 | 0.16 | Used Grease SOT
Test 18 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet | 3.31 | 1.45 | 2.09 | 0.75
Encapsulated New Grease | 1.99 | 0.97 | 2.83 | 0.93
New Grease SOT | 7.61 | 0.6 | 5.21 | 1.4
Fiberglass Interior Siding | 5.56 | 2.6 | 5.24 | 1.79
Unpainted Concrete | 1.91 | 0.36 | 2.21 | 1.01
Used Grease SOT | 7.91 | 0.1 | 5.58 | 1.57
Test 19 | B. anthracis | ±CI | B. atropheaus | ±CI
Carpet
Encapsulated New Grease | 0.67 | 0.52
Carpet (new) | 4.32 | 0.74 | 4.81 | 0.43
Fiberglass Interior Siding | 6.17 | 1.65
Unpainted Concrete
Used Grease SOT

## Material
Bacillus anthracis
test no. (repeat) | equipment | decon | Temp (°C) | decon vol. (mL) | contact time (hrs) | Rubber | ±CI | Upholstery | ±CI | Aluminum | ±CI | Mylar | ±CI | Fiberglass | ±CI | Carpet | ±CI | Concrete | ±CI | New Grease (sot) | ±CI | Encapsulated New Grease | ±CI | Used Grease (sot) | ±CI | New Filter | ±CI | Used Filter | ±CI | New Carpet | ±CI
Test-1 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | 7.94 | 0.097 | 8.08 | 0.01 | 7.88 | 0.042 | 8.06 | 0.1 | 7.58 | 0.102 | 2.37 | 1.302
Test-2 | Equipment-Sani-tizer | Decon-8% H2O2 | Temp (°C) 20 | Volume (mL)-2635 | Contact (Hr)-168 | 7.98 | 0.05 | 7.99 | 0.06 | 8.01 | 0.43 | 7.93 | 0.05 | 6.77 | 1.493 | 4.51 | 2.593
Test-3 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-168 | [10 empty] | 2.84 | 1.469
Test-4 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-18 | 8.07 | 0.018 |  |  |  |  | 7.56 | 0.72 | 6.03 | 1.301 | 1.24 | 0.576 |  |  | 5.93 | 2.7 |  |  |  |  | 7.99 | 0.04
Test-5 | Equipment-Sani-tizer | Decon-22% H2O2 | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-18 | 7.93 | 0.046 |  |  |  |  | 7.93 | 0.05 | 3.58 | 0.502 | 0.39 | 0.416 |  |  | 1.7 | 0.5 |  |  |  |  | 5.85 | 5.569
Test-6 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-8 | 7.33 | 1.034 |  |  |  |  | 7.83 | 0.03 | 4.93 | 2.029 |  |  | 1.57 | 0.485 |  |  | 0.85 | 0.68 |  |  |  |  | 7.89 | 0.036
Test-7 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 2.16 | 0.847 | 1.66 | 0.68 | 5.97 | 1.19 | 1.78 | 1.137 | 7.72 | 0.063 |  |  | 7.8 | 0.035
Test-8 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 2.44 | 0.714 | 1.27 | 0.72 | 7 | 1.83 | 1 | 0.931 | 5.76 | 2.674 |  |  | 7.85 | 0.039
Test-9 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | 7.84 | 0.032 | 7.97 | 0.03 | 7.95 | 0.052 | 7.9 | 0.05 | 5.97 | 0.869 | 3.85 | 2.171
Test-10 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 6.94 | 1.096 | 4.9 | 1.385 | 2.41 | 0.55 |  |  | 2.4 | 1.645 | 7.17 | 1.499 |  |  | 7.92 | 0.041
Test-11 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-160 | Contact (Hr)-18 | 7.89 | 0.028 | 7.12 | 1.61 | 7.38 | 1.07 | 7.83 | 0.04 | 6.55 | 1.395 | 0.99 | 0.608
Test-12 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-78 | Contact (Hr)-18 | 7.11 | 1.46 |  |  |  |  | 7.62 | 0.6 | 3.39 | 0.087 | 0.54 | 0.578 |  |  | 3.4 | 2.47 |  |  |  |  | 6.47 | 2.34
Test-13 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 0.73 | 0.32 | 1.24 | 0.58 | 3.81 | 2.16 | 0.77 | 1.26 | 3.31 | 2.41 |  |  | 7.68 | 0.06
Test-14 | Equipment-MinnCare | Decon-PAA | Temp (°C) 10 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 5.38 | 1.87 | 1.43 | 0.41 | 2.06 | 0.29 |  |  | 1.65 | 0.51 | 3.87 | 2.11 |  |  | 7.37 | 1.05
Test-15 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 6.86 | 1.13 | 6.26 | 1.99 | 2.7 | 0.86 |  |  | 2.77 | 2.19 | 6.22 | 2.25 |  |  | 7.8 | 0.15
Test-16 | Equipment-MinnCare | Decon-35% H2O2 | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 5.3 | 1.5 | 1.01 | 0.49 | 1.87 | 0.72 |  |  | 1.15 | 0.61 | 2.34 | 1.43 |  |  | 7.08 | 0.92
Test-17 | Equipment-Sani-tizer | Decon-35% H2O2 | Temp (°C) 20 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 6.61 | 1.35 | 2.29 | 0.31 | 1.57 | 0.49 |  |  | 2.69 | 0.59 | 5.73 | 1.23 |  |  | 6.74 | 1.47
Test-18 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 5.56 | 2.6 | 3.31 | 1.45 | 1.91 | 0.36 | 7.61 | 0.6 | 1.99 | 0.97 | 7.91 | 0.1
Test-19 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 6.17 | 1.65 | [6 empty] | 0.67 | 0.52 | [6 empty] | 4.32 | 0.74
Test-20 | Equipment-Sani-tizer | Decon-35% H2O2 | Temp (°C) 10 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 5.56 | 1.62 |  |  | 0.7 | 0.34 | [8 empty] | 7.87 | 0.07
Test-21
Bacillus atrophaeus
test no. (repeat) | equipment | decon | Temp (°C) | decon vol. (mL) | contact time (hrs) | Rubber | ±CI | Upholstery | ±CI | Aluminum | ±CI | Mylar | ±CI | Fiberglass | ±CI | Carpet | ±CI | Concrete | ±CI | New Grease (sot) | ±CI | Encapsulated New Grease | ±CI | Used Grease (sot) | ±CI | New Filter | ±CI | Used Filter | ±CI | New Carpet | ±CI
Test-1 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | 7.21 | 0.329 | 6.86 | 0.12 | 7.06 | 0.134 | 6.89 | 0.17 | 6.47 | 0.142 | 2.49 | 2.304
Test-2 | Equipment-Sani-tizer | Decon-8% H2O2 | Temp (°C) 20 | Volume (mL)-2635 | Contact (Hr)-168 | 6.81 | 0.158 | 6.23 | 0.14 | 7.18 | 0.181 | 6.96 | 0.33 | 6 | 0.721 | 5.71 | 1.803
Test-3 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-168 | [10 empty] | 3.27 | 1.907
Test-4 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-18 | 7.3 | 0.158 |  |  |  |  | 6.98 | 0.06 | 5.84 | 0.757 | 0.7 | 0.4 |  |  | 6.39 | 0.74 |  |  |  |  | 6.59 | 0.095
Test-5 | Equipment-Sani-tizer | Decon-22% H2O2 | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-18 | 6.12 | 1.858 |  |  |  |  | 6.99 | 0.13 | 4.07 | 1.28 | 0.41 | 0.287 |  |  | 3.75 | 1.9 |  |  |  |  | 6.38 | 0.079
Test-6 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-78 | Contact (Hr)-8 | 6.35 | 0.881 |  |  |  |  | 7.13 | 0.2 | 5.61 | 1.235 |  |  | 1.03 | 0.375 |  |  | 1.57 | 0.94 |  |  |  |  | 6.75 | 0.143
Test-7 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 2.23 | 1.143 | 0.3 | 0.46 | 6.38 | 1.37 | 4.83 | 1.288 | 5.94 | 1.95 |  |  | 6.72 | 0.04
Test-8 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 2.46 | 0.852 | 2.07 | 0.63 | 6.41 | 0.22 | 1.57 | 1.121 | 5.67 | 1.222 |  |  | 7.2 | 0.333
Test-9 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-160 | Contact (Hr)-18 | 7.04 | 0.078 | 7.56 | 0.4 | 7.65 | 0.076 | 7.39 | 0.5 | 6.66 | 0.179 | 1.7 | 0.49
Test-10 | Equipment-MinnCare | Decon-PAA | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 6.71 | 0.64 | 2.92 | 0.786 | 2.04 | 0.364 |  |  | 2.47 | 1.33 | 5.94 | 1.063 |  |  | 6.93 | 0.037
Test-11 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-160 | Contact (Hr)-18 | 7.25 | 0.06 | 7.2 | 0.07 | 7.29 | 0.127 | 7.2 | 0.08 | 5.3 | 1.189 | 1.48 | 0.436
Test-12 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-78 | Contact (Hr)-18 | 7.31 | 0.156 |  |  |  |  | 7.26 | 1.14 | 3.21 | 0.94 | 1.43 | 0.36 |  |  | 3.58 | 1.29 |  |  |  |  | 6.64 | 0.132
Test-13 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-160 | Contact (Hr)-18 | [10 empty] | 0.99 | 0.48 | 1.36 | 0.64 | 4.97 | 1.69 | 2.16 | 1.59 | 5.5 | 1.58 |  |  | 6.96 | 0.25
Test-14 | Equipment-MinnCare | Decon-PAA | Temp (°C) 10 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 6.63 | 0.16 | 0.9 | 0.59 | 1.9 | 0.35 |  |  | 2.55 | 1.86 | 5.92 | 1.47 |  |  | 6.84 | 0.13
Test-15 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 6.84 | 0.21 | 1.36 | 0.47 | 0.78 | 0.72 |  |  | 2.33 | 1.83 | 6.88 | 0.14 |  |  | 6.91 | 0.05
Test-16 | Equipment-MinnCare | Decon-35% H2O2 | Temp (°C) 20 | Volume (mL)-500 | Contact (Hr)-18 | [8 empty] | 5.63 | 1.35 | 1.05 | 0.69 | 1.1 | 0.75 |  |  | 1.25 | 1.28 | 4.98 | 1.79 |  |  | 6.96 | 0.06
Test-17 | Equipment-Sani-tizer | Decon-35% H2O2 | Temp (°C) 20 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 5.26 | 1.73 | 2.27 | 0.88 | 1.41 | 0.27 |  |  | 2.59 | 1.27 | 6.92 | 0.16 |  |  | 6.82 | 0.09
Test-18 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 20 | Volume (mL)-1000 | Contact (Hr)-18 | [8 empty] | 5.24 | 1.79 | 2.09 | 0.75 | 2.21 | 1.01 | 5.21 | 1.4 | 2.83 | 0.93 | 5.58 | 1.57
Test-19 | Equipment-Sani-tizer | Decon-PAA | Temp (°C) 10 | Volume (mL)-1000 | Contact (Hr)-18 | [24 empty] | 4.81 | 0.43
Test-20 | Equipment-Sani-tizer | Decon-35% H2O2 | Temp (°C) 10 | Volume (mL)-1000 | Contact (Hr)-18 | [16 empty] | 0.8 | 0.7 |  |  |  |  | 5.78 | 1.04
Test-21